GLOBALEMED, LLC.

1101 King Street   Suite 370   Alexandria, VA  22314

Telephone Number:  (703) 894-0710    Fax Number: (703) 894-0725


PRODUCT DESCRIPTION
HIV 1&2 TEST (SMART CHECK® HIV 1&2)

1. CAT. NO. AND PACK SIZE:

	           CAT. NO.
	         PACK SIZE

	          # 06021004
	      25 TESTS/BOX 


2. KIT COMPOSITION:

HIV 1&2 TEST CASSETTE CONTAINING:

A.  Nitrocellulose membrane on plastic inert base.  Each membrane contains:

· Recombinant human HIV 1&2 antigens




 65 g/test*

· Monoclonal anti-human antibodies colloidal gold conjugate

 10 g/test

B.  Buffer: Distilled water, BSA, detergents and monoclonal anti-human antibodies 25 g/ 100 l 

C. Cassette made our of PVC plastic material

D. Pipette and Lancet:  Optional

* The HIV antigen is obtained by recombinant technology using E. coli DH-5, and the plasmid HB101 as a vector for the gp 24, gp120/160, antigen subtype “O” and HIV-2 antigens belonging to the viruses HIV-1 and HIV-2.  After purification of the soluble antigen there are no traces of bacteria, fungi or parasites found in the antigens used for the making of these devices.  The proteins in the devices are stable and functional at room temperature for up to18 months.

3. USE:  

This kit is intended for IN VITRO DIAGNOSTIC USE.

The reagents on the nitrocellulose membrane act as antigen-binding antibodies from patients suffering from HCV infection.  A positive result is therefore visualized by eye.

4. SHELF LIFE:

18 months from the date of manufacturing

5. STORAGE:

+6’C to 30’C

6. TECHNICAL INSERT:

Attached

GLOBALEMED, LLC.

1101 King Street, Suite 370

Alexandria, VA  22314 USA

