NATIONAL INSTITUTE FOR COMMUNICABLE DISEASES
Division of the NATIONAL HEALTH LABORATORY SERVICE (NHLS)
Tel : +27 11 321 4200








Private Bag X4

Fax: +27 11 882 0596








2131 Sandringham

E-mail : nivmail@niv.ac.za

Internet : http//www.niv.ac.za


SOUTH AFRICA

Executive Director : Barry D Schoub MB BCh MMed MD DSc FRCPath FCPath (SA) FRSSAf

[image: image1.png]\wvvvw %
S 27

S=7




12 March 2002

Dear Sir / Madam

Thank you for your request regarding evaluation of HIV rapid kits. The following recommendations and requirements apply to these evaluations in order to achieve statistically significant results that can be used for future recommendations regarding your kit:

Number of tests required:


500 (250 positive, 250 negative)

Gold standard used:



2 HIV antibody ELISA’s as per WHO strategy II.

Time frame:




Average of three weeks from the time of receipt of kits.

Specimens used in lab evaluation:

Serum.

Costs:





R26 000

In addition to this, we also please require the following information, particularly if you subsequently wish to compete for a government tender:

	Kit name as given by the manufacturer (i.e. prior to being sourced by the distributor).
	WDI SmartCheck rapid HIV 1&2 test

	Kit manufacturer
	World Diagnostics Inc.

	Kit Name as given by the supplier
	WDI SmartCheck rapid HIV 1&2 test

	Supplier’s name
	PANTECH C.C. and AIDSolutions C.C. (for gov. tenders)

	Supplier’s address


	Office: Suite 5A, New Era House, 6 Joseph Avenue, Glen Anil, 4051, KwaZulu-Natal.

Postal:  P O Box 201636, Durban North, 4016, KZN 

	Supplier’s telephone number
	+27 31 572 9915

	Supplier’s fax number
	+27 31 572 9916

	Supplier’s email address
	PantechSA@mweb.co.za

	Name of company representative of supplier.
	Marc Matthews


I trust that this quotation meets with your approval. Please feel free to contact me should you require any further information. Thank you once again for the interest you have shown in the service we offer at the National Institute for Communicable Diseases (formerly National Institute for Virology). Please note that the results of this assessment do not imply approval or endorsement of this product by the National Institute for Communicable Diseases, and we request please that words to this effect may NOT be used for any promotional or advertising purposes whatsoever.
Yours faithfully

Dr Terry Marshall

[image: image2.jpg]>y

ACCREDITED
LABORATORY



MBBCh, FC Path SA, DTM&H

World Health Organization Collaborating Centre

   
complies with

for Haemorrhagic Fevers & Arboviral Diseases

  
ISO Guide 25

Member of the Regional EPI Laboratory Network

   
No. M 0029


in the capacity of a Regional Reference Laboratory

